Ground Truth Validation Strategy

Obtaining Reliable LSTV Labels for Model Validation

# The Ground Truth Challenge

The fundamental question: How do we definitively know if a vertebra is L5 or L6 (or S1)?

This is surprisingly difficult because:

- Lumbar-only MRI: Cannot count from cervical spine (most datasets)

- Rib number variation: Cervical ribs, absent T12 ribs, lumbar ribs exist

- Expert disagreement: Radiologists may disagree on LSTV classification

- No single gold standard: Multiple classification systems exist (Castellvi, etc.)

# Gold Standard Approaches

## Approach 1: Whole-Spine Imaging (Most Reliable)

Method: Count vertebrae from C1 (atlas) down to sacrum

| Advantages | Disadvantages |
| --- | --- |
| • Unambiguous vertebra identity • Accounts for cervical variants • Definitive LSTV classification • Publishable as gold standard | • Requires special imaging protocol • Not available in RSNA dataset • Expensive (~$1,500-3,000 per scan) • Increased radiation exposure |

Feasibility: Future validation study with 50-100 whole-spine cases

## Approach 2: Expert Radiologist Consensus (Practical)

Method: 3+ radiologists independently label vertebrae on lumbar-only MRI, resolve disagreements through discussion

| Advantages | Disadvantages |
| --- | --- |
| • Uses existing RSNA dataset • Practical for large-scale validation • Consensus reduces individual bias • Clinically realistic (standard practice) | • Inter-rater disagreement possible • No cervical reference (assumption-based) • Time-consuming for experts • May miss subtle variants |

### Protocol Details

- Radiologist selection: 3-5 board-certified radiologists with spine subspecialty training

- Independent review: Each radiologist labels vertebrae without seeing others' annotations

- Consensus meeting: Disagreements resolved through group discussion with reference images

- Documentation: Record confidence level and rationale for each LSTV classification

Feasibility: Current approach for test set validation (100-200 cases)

## Approach 3: High-Confidence Automated Detection (Our Initial Method)

Method: Use multi-factor confidence scoring to create pseudo-ground truth for training

### Confidence Criteria

A case is labeled HIGH confidence (pseudo-ground truth) only if:

- L6 size validated: L6 is 0.5-1.5x the size of L5 (not a fragment)

- Sacrum present: Sacrum clearly visible (excludes incomplete scans)

- S1-S2 disc visible: Strong sacralization indicator (>0.3 confidence boost)

- Vertebra count plausible: 4-6 lumbar vertebrae (excludes extreme anomalies)

- Combined confidence ≥0.7: Aggregate score threshold for auto-upload

| Advantages | Disadvantages |
| --- | --- |
| • Scalable to entire dataset • No manual labeling required • Consistent criteria applied • Enables bootstrapping approach | • Not true ground truth • May have systematic errors • Requires expert validation • Cannot detect novel edge cases |

Feasibility: Current approach for initial model training; requires validation against expert consensus

# Recommended Three-Stage Validation Strategy

## Stage 1: Bootstrap with High-Confidence Automated Labels (Current)

- Purpose: Create initial training set rapidly

- Method: Confidence scoring ≥0.7 → pseudo-ground truth

- Scale: ~300-400 HIGH confidence cases from 500 LSTV candidates

- Risk mitigation: QA reports with visual verification, human annotation on subset (200)

## Stage 2: Expert Consensus Validation (Weeks 4-6)

- Purpose: Validate model predictions against expert ground truth

- Method: 3 radiologists independently label held-out test set (100 cases)

- Selection: Stratified sample: 50 HIGH confidence, 30 MEDIUM, 20 LOW

- Metrics: Inter-rater agreement (Fleiss' kappa), model agreement with consensus

## Stage 3: Prospective Clinical Validation (Months 3-6)

- Purpose: Measure real-world impact on surgical planning

- Method: Deploy model in clinical workflow, track discrepancies with radiologist labels

- Outcome: Reduction in wrong-level surgery rate (target: 5-15% → <1%)

- Safety: Model predictions reviewed by radiologist before surgical planning

# Measuring Validation Success

| Metric | Target | Stage |
| --- | --- | --- |
| Inter-rater agreement (Fleiss' kappa) | >0.75 (substantial) | Stage 2 |
| Model-expert agreement | >0.85 (near-perfect) | Stage 2 |
| LSTV sensitivity (vs consensus) | >0.90 | Stage 2 |
| LSTV specificity (vs consensus) | >0.95 | Stage 2 |
| False LSTV classification rate | <1% | Stage 2-3 |
| Wrong-level surgery reduction | 5-15% → <1% | Stage 3 |

# Implementation Timeline

## Weeks 1-3: Initial Model Development

- High-confidence pseudo-ground truth training

- Medical student annotation (200 images)

- Baseline vs refined model comparison

## Weeks 4-6: Expert Validation

- Recruit 3 spine radiologists

- Independent labeling of 100-case test set

- Consensus meeting for disagreements

- Calculate inter-rater and model-expert agreement

## Months 3-6: Clinical Validation

- IRB approval for prospective clinical trial

- Deploy model in surgical planning workflow

- Track discrepancies and outcomes

- Measure wrong-level surgery rate reduction

# Conclusion

While obtaining true ground truth for LSTV labels is challenging, our three-stage validation strategy balances practicality with rigor:

- Bootstrap: High-confidence automated labels enable rapid initial development

- Validate: Expert consensus on stratified test set provides ground truth

- Measure impact: Prospective clinical trial demonstrates real-world benefit

This approach acknowledges the inherent uncertainty in LSTV classification while providing multiple independent verification steps to ensure model reliability for clinical use.

Version 1.0 - February 2026